# Multi-channel Smart Meter Firmware Project Documentation

## 1. Introduction

The Multi-channel Smart Meter firmware development focuses on the development, integration and implementation of an Energy Meter integrated with a comprehensive QT-based monitoring and configuration application. The project aims to measure accurate voltage, current, frequency, power & energy measurement, system monitoring, calibration, and remote management through a custom dashboard.

## 2. Completed Features

### 2.1 SCM Board

The SCM Board is responsible for collecting electrical parameters through ADE9000 and performing real-time analysis.

#### 2.1.1 General Parameters

• Line Voltage – Measures the voltage between two lines of the power supply.
• RMS Voltage – Calculates the Root Mean Square voltage for accurate AC measurement.
• Current – Measures the instantaneous and RMS current for each channel.
• Frequency – Determines the input AC frequency of the system.

#### 2.1.2 Power Parameters

• Active Power – Represents the real power consumed by the load.
• Reactive Power – Measures the non-working power component caused by inductive or capacitive loads.
• Apparent Power – Indicates the total power flow in the system.
• Power Factor – Displays the ratio of active to apparent power, indicating system efficiency.

#### 2.1.3 Energy Parameters

• Active Energy – Represents the total amount of real electrical energy consumed over time by the load.
• Reactive Energy – Represents the energy alternately stored and released by inductive and capacitive elements in the system.
• Bidirectional Energy – Refers to the measurement of both energy import (consumed) and export (generated or returned to the grid).

#### 2.1.4 Other Parameters

• Temperature – Measures ambient or internal temperature for thermal monitoring.

#### 2.1.5 Ratio & Calibration

• CT-Ratio – Sets the current transformer ratio for scaling measured current.
• V-Offset – Voltage offset correction factor.
• I-Offset – Current offset correction factor.
• V-Calibration – Adjusts measured voltage accuracy.
• I-Calibration – Adjusts measured current accuracy.

### 2.2 QT Application

The QT Application provides a user-friendly interface for monitoring, configuration, and control of electrical parameters coming from ATSAM.

#### 2.2.1 Login

• Advertisement – Displays company branding and advertisements.
• Loader – Displays progress during initialization.
• Login – Provides user authentication for secure admin & factory access.
• Channels – Displays real-time electrical and environmental parameters across multiple views:

- General & Temperature (°C & °F)
   - Power & Temperature (°C & °F)
   - Energy & Temperature (°C & °F)

#### 2.2.2 Admin Settings

• Device Info – Displays device-specific information.
• MQTT & MQTTS – Configure broker settings for secure and standard MQTT communications.
• NTP & SFTP – Manage time synchronization and file transfer services.

#### 2.2.3 Factory Settings

• CT-Ratio, V-Offset, I-Offset, V-Calibration, I-Calibration – Tools for precise device calibration.
• System – Manage system-level services including MQTT, NTP, SFTP, OTA updates, and USB export.

#### 2.2.4 Services

• GSM – Enables SIM network connectivity.
• NTP – Synchronizes system clock with network time servers.
• MQTT/MQTTS – Provides secure cloud-based data communication for dashboard.
• SFTP – Allows secure file transfers for backup.
• UART – Serial communication with external devices.
• USB Export – Enables exporting data to USB storage.
• USB Reboot – Perform factory reset via USB.
• USB to Ethernet Connectivity – Provides network bridge for internet connectivity.
• OTA – Updates firmware of V3S over-the-air.

## 3. Remaining Features

### 3.1 SCM Board

• ADE Calibration (Power) – Final calibration for accurate active and reactive power measurements.
• ADE Calibration (Energy) – Calibration for precise energy accumulation over time.

### 3.2 QT Application

• Alarms – Implementation of real-time alerts for threshold violations.
• Registered UID or Use of Existing – Manage unique device identification or registration mechanism.

## 4. Conclusion

The MSM firmware project integrates advanced metering, monitoring, and configuration capabilities for smart energy systems.