Multi-Channel Smart Meter (MSM) Firmware Required Feature List & New Features

Required Features as per Proposal:

- MQTT Protocol Support:

- Implement MQTT-based communication for data exchange.

- Implement our own OTA mechanism which does not mimic the SFTP approach.

- Devices will send real-time meter readings and status information to the cloud.

- Support for both Factory and Admin Settings for concurrent connections.

- Device Info Dashboard:

- Devices will provide necessary metadata (e.g., device model, serial number, firmware version).

- Information will be sent to the dashboard and updated dynamically via MQTT.

- Device Configuration:

- Devices should allow configuration updates for MQTT settings (e.g., server IP, port, topic, etc.).

- Device parameters such as NTP, MQTT, and SFTP configurations can be updated remotely via the dashboard.

- USB2.0 and above support to RJ45 TCP/IP Modbus communication

- Concurrent Connections:

- Ensure that devices continue to report data while in factory settings and adapt to any changes made in the admin settings even when deployed in the field.

- Real-time Monitoring:

- Collect and transmit real-time data such as meter readings, status (online/offline), and connection status for NTP, MQTT, and SFTP.

- Asset Management:

- Device registration, updates, and removal functionalities will be integrated with the dashboard.

- When a device is added, the associated dashboard for the device is automatically created.

- When a device is removed, the system prompts for dashboard removal, but it can remain if required.

- Cyber Security Implementations:

  - SFTP feature to allow Admin to configure if device can be turned into Server or Client

  - Self-signed X.509 certificate provision

  - Please follow the password requirement as set by the Tenaga requirement. Process: Hash all passwords before storing in device with Argon2, bcrypt, or scrypt, Add unique random string before and after password hashing

  - Auto-logout from device password session after X minutes

New Features:

- Automated UID Fetching

- Loader removal

- Data logging of Temperature

- Resolve false values of channel

- implement Alerts/Alarms

- Implement login option when USB is inserted

- When disconnection or timeout occurs, data between cloud and device should not be missed.

- Suggest & Implement OTA

- Load data to be fetched from database for new devices

Required Features Task and Sub – Tasks:

- Linux Environment and Project Setup:

- This task involves fetching the necessary SDK and source code for Linux that can work with the Processor on the MSM PCB.

- User Interface / User Experience Design

- Focuses on developing the UI in the Linux environment to match or resemble the original product UI/UX. This milestone will also involve the logic of the screens.

- Integration with Meter Data

- Designing a data structure to exchange data between the Meter MCU and the Linux MCU, then displaying the data properly on the UI. This includes sending back settings to the Meter MCU for necessary calculation changes.

- GSM Firmware Module Implementation

- Relay information from the UI to the cloud via Modem. This involves basic Modem initialization, setup, and use as a gateway to upload data and metrics.

- Integration Testing

- Testing the full firmware with all modules working together properly.